## d13C
Appendix B. Standard uncertainty calculator |  |  | Calibration Standards | [5 empty] | Check Standards | [5 empty] | Sample Replicates
Name: |  |  | Glycine low | Glycine high | Glycine low | Glycine high | Glycine low | Glycine high | GlycineMid | HStd2 | GlycineMid | HStd2 | GlycineMid | Tomato leaves | ACL10050a | ACL 10030e | ACL 10040a | ACL 10029a | ACL 10033a
Analytical Session |  |  | 1 | 1 | 2 | 2 | 3 | 3 | 1 | 1 | 2 | 2 | 3 | 3 | 1 | 1 | 2 | 2 | 2
Known delta: |  |  | -39.64 | 15.67 | -39.64 | 15.67 | -39.64 | 15.67 | -8.36 | -16.78 | -8.36 | -16.79 | -8.36 | -26.88
Standard deviation: |  |  | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.06
Measured mean: |  |  | -39.6396 | 15.6681 | -39.4008 | 15.6701 | -39.6554 | 15.6631 | -8.4575 | -16.6971 | -8.295 | -16.5771 | -8.365 | -27.0551 | -17.4367 | -14.3467 | -18.4833 | -14.56 | -17.05
Measured StDev: |  |  | 0.10641 | 0.075962 | 0.49022 | 0.13709 | 0.05591 | 0.038019 | 0.089209 | 0.12079 | 0.10247 | 0.21422 | 0.042032 | 0.25237 | 0.22301 | 0.27025 | 0.20817 | 0.26211 | 0.098995
Number measured: |  |  | 6 | 5 | 6 | 6 | 6 | 6 | 4 | 7 | 4 | 7 | 4 | 7 | 3 | 3 | 3 | 3 | 2
ΔMeasured−Known | [8 empty] | -0.0975 | 0.082857 | 0.065 | 0.21286 | -0.005 | -0.17509
ssrm | 0.19838 |  | 0.056612 | 0.023081 | 1.2016 | 0.093969 | 0.01563 | 0.0072272 | 0.023875 | 0.087543 | 0.0315 | 0.27534 | 0.0053 | 0.38215 | 0.099467 | 0.14607 | 0.086667 | 0.1374 | 0.0098
dfsrm |  | 56
srep | 0.2308
dfrep |  | 9
u(Rw) | 0.25688
RMSbias | 0.12688
u(Cref) | 0.052154
u(bias) | 0.13718
Standard Uncertainty (uc) | 0.29121
1 |  |  | -39.7174 | 15.5719 | -39.763 | 15.9032 | -39.7325 | 15.6282 | -8.49 | -16.75 | -8.28 | -16.34 | -8.41 | -26.5209 | -17.27 | -14.07 | -18.25 | -14.78 | -17.12
2 |  |  | -39.6025 | 15.7588 | -39.2914 | 15.491 | -39.6068 | 15.6823 | -8.56 | -16.44 | -8.16 | -16.23 | -8.34 | -26.9894 | -17.35 | -14.36 | -18.65 | -14.27 | -16.98
3 |  |  | -39.4439 | 15.6091 | -39.6504 | 15.632 | -39.648 | 15.695 | -8.43 | -16.7 | -8.4 | -16.54 | -8.39 | -27.179 | -17.69 | -14.61 | -18.55 | -14.63
4 |  |  | -39.7317 | 15.705 | -38.4537 | 15.6016 | -39.5822 | 15.6498 | -8.35 | -16.77 | -8.34 | -16.72 | -8.32 | -27.1918
5 |  |  | -39.6567 | 15.6957 | -39.6126 | 15.694 | -39.6981 | 15.6145 |  | -16.81 |  | -16.74 |  | -27.2821
6 |  |  | -39.6855 |  | -39.6337 | 15.6988 | -39.6647 | 15.7088 |  | -16.72 |  | -16.75 |  | -27.1289
7 | [9 empty] | -16.69 |  | -16.72 |  | -27.0935

## d15N
Appendix G. Standard uncertainty calculator |  |  | Calibration Standards | [5 empty] | Check/Working Standards | [5 empty] | Sample Replicates
Name: |  |  | Glycine low | Glycine high | Glycine low | Glycine high | Glycine low | Glycine high | Glycine mid | HStd2 | Glycine mid | HStd2 | Glycine mid | Tomato leaves | ACL10050a | ACL 10030e | ACL 10040a | ACL 10029a | ACL 10033a
Analytical Session: |  |  | 1 | 1 | 2 | 2 | 3 | 3 | 1 | 1 | 2 | 2 | 3 | 3 | 1 | 1 | 2 | 2 | 2
Known delta: |  |  | 1.35 | 51.8 | 1.34 | 51.8 | 1.34 | 51.8 | 27.9 | 9.11 | 27.9 | 9.11 | 27.9 | 3.96
Standard deviation: |  |  | 0.11 | 0.18 | 0.11 | 0.18 | 0.11 | 0.18 | 0.11 | 0.07 | 0.11 | 0.07 | 0.11 | 0.12
Measured mean: |  |  | 1.419 | 51.8099 | 1.41 | 51.8115 | 1.3503 | 51.8008 | 27.775 | 9.1071 | 27.7125 | 9.2843 | 27.8125 | 3.8889 | 8.6433 | 8.9633 | 11.7167 | 6.97 | 10.135
Measured StDev: |  |  | 0.062798 | 0.055399 | 0.023174 | 0.049177 | 0.029607 | 0.12874 | 0.10017 | 0.054989 | 0.25211 | 0.48335 | 0.086939 | 0.09506 | 0.041633 | 0.032146 | 0.21779 | 0.072111 | 0.16263
Number measured: |  |  | 6 | 5 | 6 | 6 | 6 | 6 | 4 | 7 | 4 | 7 | 4 | 7 | 3 | 3 | 3 | 3 | 2
ΔMeasured−Known | [8 empty] | -0.125 | -0.0028571 | -0.1875 | 0.17429 | -0.0875 | -0.071093
ssrm | 0.18184 |  | 0.019718 | 0.012276 | 0.0026852 | 0.012092 | 0.0043828 | 0.082876 | 0.0301 | 0.018143 | 0.19068 | 1.4018 | 0.022675 | 0.054218 | 0.0034667 | 0.0020667 | 0.094867 | 0.0104 | 0.02645
dfsrm |  | 56
srep | 0.12349
dfrep |  | 9
u(Rw) | 0.20172
RMSbias | 0.12508
u(Cref) | 0.10042
u(bias) | 0.1604
Standard Uncertainty (uc) | 0.25772
1 |  |  | 1.4421 | 51.7886 | 1.4078 | 51.7434 | 1.3445 | 51.7975 | 27.71 | 9.03 | 27.92 | 9.18 | 27.72 | 3.7779 | 8.69 | 8.95 | 11.65 | 6.99 | 10.02
2 |  |  | 1.2944 | 51.7534 | 1.4169 | 51.7564 | 1.3244 | 51.6961 | 27.68 | 9.09 | 27.94 | 10.35 | 27.8 | 3.9676 | 8.61 | 9 | 11.96 | 7.03 | 10.25
3 |  |  | 1.4632 | 51.7695 | 1.444 | 51.8277 | 1.3505 | 51.7904 | 27.9 | 9.08 | 27.52 | 9.22 | 27.93 | 3.7307 | 8.63 | 8.94 | 11.54 | 6.89
4 |  |  | 1.4421 | 51.872 | 1.3727 | 51.8458 | 1.3324 | 51.669 | 27.81 | 9.21 | 27.47 | 9.04 | 27.8 | 3.9616
5 |  |  | 1.419 | 51.866 | 1.4028 | 51.8348 | 1.3424 | 51.8185 |  | 9.13 |  | 9.12 |  | 3.9144
6 |  |  | 1.4532 |  | 1.4159 | 51.8609 | 1.4077 | 52.0334 |  | 9.11 |  | 9.19 |  | 3.9506
7 | [9 empty] | 9.1 |  | 8.89 |  | 3.9195